## Sheet1
[9 empty] | cd | TOTAL
| DESCRIPTION | QTY | price | TOTAL | TOTAL FINISH MATERIAL |  |  |  | 15 | 500855
wc | Toto CST416M, dual flush with Toto SS114 seat | 230 | 295 | 67850 |  | QTY | price | TOTAL
wc | Toto CST744EL, ADA height, 1.28gpf with SS114 seat | 11 | 230 | 2530 | ri material | 1170 | 100 | 117000
lav | Toto LT502 china lav w/Toto TL416SD-CP chrome faucet | 230 | 200 | 46000 | cast iron waste stacks in units | 700 | 90 | 63000
lav | Toto LT502 china lav w/Toto TL416SD-CP w/insulation kit | 11 | 225 | 2475 | boilers PRV/DCV booster | 3 | 7500 | 22500
tub | Superior 101C stall w/backing w/Moen 62385 /TL183EP chrome | 138 | 465 | 64170 | shut offs- hot and cold | 478 | 35 | 16730
ADA tub | Superior 100 w/bars/seat w/Moen 62385 /TL183EP/ Moen 52710EP hand shower | 11 | 1180 | 12980 | recirc/insulate/and water mains | 218 | 350 | 76300
shower | Superior 48C-N shower stall (not adaptable) w/Moen 62385/TL182EP | 28 | 433 | 12124 | can out | 625 | 28 | 17500
shower | Superior 48BF-FWA w/ERT threshold/ w/backing w/Moen 62385/TL182EP chrome | 64 | 705 | 45120 | basins(also included in garage drains) | 2 | 700 | 1400
|  | 0 | 0 | 0 | parking garage drains | 43 | 300 | 12900
kitsk | Moen G20192 undercounter w/Moen 7594 pulldown | 198 | 247 | 48906 | pt deck drains & overflows | 46 | 400 | 18400
ada kit | Moen G18195 ADA undercounter w/Moen 7594 pulldown | 11 | 295 | 3245 | roof drains and overflows | 17 | 1000 | 17000
dw | roughin and connect w/mini arrestor | 211 | 20 | 4220 | retail and amenity condensates | 24 | 150 | 3600
wmob | roughin recessed box | 209 | 55 | 11495 | hosebibs | 31 | 75 | 2325
wc | Amenity space toilet Toto CST744EL, ADA height, 1.28gpf with SS114 seat | 3 | 230 | 690 | footing & foundation drains | 3750 | 4.2 | 15750
lav | Amenity lav Toto LT502 china lav w/Toto TL416SD-CP w/insulation kit | 3 | 350 | 1050 | gas piping | 11 | 500 | 5500
sink | break room/amenity room Moen G218195 ADA undercounter w/Moen 7594 pulldown | 2 | 295 | 590 | irrigation, trashchute, | 6 | 300 | 1800
hb1 | woodford 24 keyless hosebib at interior or garage areas | 15 | 200 | 3000 | boiler venting in PVC | 6 | 300 | 1800
hb2 | woodford 65B keyless hosebib with box | 15 | 255 | 3825 | fixtures over retail and amenity cast iron | 95 | 200 | 19000
hb3 | hot and cold hosebib | 1 | 300 | 300 | fixtures over garage plastic | 320 | 150 | 48000
|  | 0 | 0 | 0 | TOTAL R.I. MATERIAL |  |  |  |  | 460505
mop | Mustee mop sink and faucet | 3 | 300 | 900 | R.I. LABOR | 1170 | 140 | 163800
|  | 0 | 0 | 0 | cast iron waste stacks in units | 700 | 60 | 42000
HWTs | AO Smith BTH500 or equal w/neutralizers | 4 | 13000 | 52000 | boilers PRV/DCV booster | 3 | 2400 | 7200
|  | 0 | 0 | 0 | shut offs- hot and cold | 478 | 35 | 16730
misc | startup, gauges, valves, | 1 | 2300 | 2300 | recirc/insulate/and water mains | 218 | 135 | 29430
ext | armstrong expansion tank | 1 | 2000 | 2000 | can out | 625 | 22 | 13750
pump | armstrong e series pumps w/tekmar 132 control | 2 | 1500 | 3000 | basins(also included in garage drains) | 2 | 1000 | 2000
cbv | armstrong circuit balance valves | 50 | 110 | 5500 | parking garage drains | 43 | 250 | 10750
tv | lead free tempering valves | 3 | 1500 | 4500 | pt deck drains & overflows | 46 | 565 | 25990
pump | domestic water pressure pump package | 1 | 26000 | 26000 | roof drains and overflows | 17 | 900 | 15300
irrigation | irrigation points of connection at interior courtyard | 5 | 250 | 1250 | retail and amenity condensates | 24 | 330 | 7920
|  | 0 | 0 | 0 | hosebibs | 31 | 180 | 5580
| TOTAL FINISH MATERIAL |  |  | 428020 | footing & foundation drains | 3750 | 2.5 | 9375
basin | Sand/oil catch basin | 1 | 2500 | 2500 | gas piping | 11 | 725 | 7975
CO | cleanouts in underground | 55 | 85 | 4675 | irrigation, trashchute, | 6 | 440 | 2640
|  | 0 | 0 | 0 | boiler venting in PVC | 6 | 500 | 3000
basin | silt basin and hatch for foundation drains | 1 | 2500 | 2500 | tub labor | 241 | 100 | 24100
trench | trench drain at garage and loading bay entries | 2 | 2500 | 5000 | fixtures over retail and amenity cast iron | 95 | 200 | 19000
gd1 | garage floor drain at SOG | 6 | 350 | 2100 | fixtures over garage plastic | 320 | 150 | 48000
gd1 | garage floor drain at PT decks | 12 | 250 | 3000 | TOTAL R.I. LABOR |  |  |  |  | 454540
fd | trash/sprinkler/standpipe/mech/HUB drains | 21 | 250 | 5250 | SUPERVISION | 209 | 50 |  | 1 | 10450
dd | PT deck drains with overflows at level 2 deck | 6 | 250 | 1500 | TAKE-OFF | 209 | 70 |  | 12 | 14630
dd | PT deck drains with overflows at level 3 and 3 deck | 40 | 250 | 10000 | FINISH LABOR | 1154 | 40 |  | 4 | 46160
|  | 0 | 0 | 0 | heat trace 80hrs | 80 | 60 |  |  | 4800
RD1 | roof drains with overflows | 17 | 1330 | 22610 | TOTAL LABOR | 530580 | 51% |  | 31 | 270595.8
bflow & PRV | 4" Watts RPBA and PRV for main water 3" Watts RPBA and PRV for main water | 8 | 1200 | 9600 | engineering/parking/rental/DCV test | 50000 | 10000 | 5000 | 500 | 65500
bflow | water supply and backflow for trash chutes | 1 | 500 | 500 | plumbing, gas, boiler, RPBA permit | 20600 | 5400 | 2000 |  | 28000
|  | 0 | 0 | 0 | heat trace=6000 | 0 | 0 | 6000 | 0 | 6000
TI | TI spaces w/4"waste, 3"vent, 1.5" water supply | 18 | 0 | 0 | TOTAL COST |  |  |  |  | 1862035.8
gas | gas PRV's and earthquake valves | 12 | 300 | 3600 | OVERHEAD & PROFIT | 39.16% |  |  |  | 729264.2
| TOTAL |  |  | 72835 | TOTAL BID PRICE |  |  |  |  | 2591300
|  | upper | lower | total | LABOR | 530580 |  | per fixture |  | 2214.7863
| total ri fixtures | 1170 |  | 1170 | MATERIAL | 961360 |  | per unit |  | 12398.5646
| total finish fixtures | 1154 |  | 1154 | OTHER | 99500 |  | ri mat per fix |  | 393.594
| total permit fixtures | 1382 | 200 | 1582 | GPH | 1.3745 |  | ri labor per fix |  | 388.4957
[8 empty] | fin lbr per fix |  | 40