Change Order Request

December 2, 2014

Chinn Construction, LLC

14715 NE 95th Street, Suite 101

Redmond, WA 98052

Attn: 	Scott Day

Re:	Legacy Apartment Project – Change Order Request #01

Scott,

Per EN drawings dated 10/13/14 and C301 dated 8/17/14, changes were made to the sub-slab drainage and ventilation piping.  Changes include: (1) added basin, added 4” perforated pipe, upsizing 4” perforated pipe to 6”, and added 6” tightline piping.  Total cost comes to $11,114 + 15% OH&P = $12,781.  We have included all underground piping shown on EN2.0, including the tightline piping from the basins to the equipment room where we’ll stub up through the slab.  Please note that we are excluding all piping once we come up out of the SOG, including the test ports monitoring ports and gate valves.  The following details on sheet EN2.0 are specifically excluded: “Sub-slab depressurization system process and instrumentation diagram”, “Water treatment system process and instrumentation diagram”, and “Vent stack detail”.  Please forward a Change Order for $12,781 at your earliest convenience.

Please let me know if you have any questions or require further information.  Thank you.

|  | Labor | Material |
| --- | --- | --- |
| Description | Total | Total |
| 4" Perf Pipe | ($3,213) | ($1,540) |
| 4" Fittings | ($1,176) | ($143) |
| 6" Perf Pipe | $7,187 | $2,970 |
| 6" Fittings | $2,595 | $580 |
| 6" Tightline to equipment room | $675 | $233 |
| 6" Fittings | $472 | $106 |
| Cleanouts | $605 | $669 |
| Type 241 Catch Basin | $484 | $357 |
| Type 241 Riser | $30 | $72 |
| Kor N Seal Boots | $30 | $120 |
| Subtotals | $7,691 | $3,423 |
| OH & Profit | $1,154 | $513 |
| Totals | $8,844 | $3,936 |
| Total this page |  |  |
| $12,781 |  |  |

Sincerely,

Richard Donelson

Project Manager / Estimator

LEED® Green Associate

richd@owpllc.net

425-591-4296 cell