Change Order Request

June 15, 2015

Chinn Construction, LLC

14715 NE 95th Street, Suite 101

Redmond, WA 98052

Attn: 	Charlie Poggemann

Re:	Hadley Apartment Project – Change Order Request

Charlie,

Due to the relocation of the main gas meter, gas piping will have to be installed underground to get into the building.  International Fuel Gas Code requires that gas piping installed underground be corrosion resistant and enclosed within an approved conduit.  Routing has also been changed, making it necessary to core drill through the concrete wall and slab at new location.  Total added cost is $2,968 + 10% OH&P = $3,265.

Cost to install an added sleeve for future use from the NE corner of the loading dock area to the gas meter alcove is $582 + 10% OH&P = $640.

Cost to install one medium-pressure gas mainline to the retail areas is $9,073 + 10% OH&P = $9,980.  Each retail area will have a gas connection with shutoff in the ceiling.  Tenants or Owner would have to install their own sub-meters.

Please note the following exclusions: meter supply or installation (Owner will typically provide/install), regulator supply or installation at retail areas, survey, utility locates, excavation, hoisting or backfill, temp protection.

Total Change Order amount is $13,885.  Please let me know if you have any questions or comments.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

LEED® Green Associate

richd@owpllc.net

425-591-4296 cell