Change Order Request

March 24, 2015

Chinn Construction, LLC

14715 NE 95th Street, Suite 101

Redmond, WA 98052

Attn: 	Charlie Poggemann

Re:	Hadley Apartment Project – Change Order Request

Charlie,

Due to the relocation of the main gas meter, gas piping will have to be installed underground to get into the building.  International Fuel Gas Code requires that gas piping installed underground be corrosion resistant and enclosed within an approved conduit.  Total added cost is $1,761 + 10% OH&P = $1,937.  Please forward a Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

Exclusions: Survey, utility locates, excavation, hoisting, backfill, temp protection.

Sincerely,

Richard Donelson

Project Manager / Estimator

LEED® Green Associate

richd@owpllc.net

425-591-4296 cell