Change Order Request

March 24, 2015

Chinn Construction, LLC

14715 NE 95th Street, Suite 101

Redmond, WA 98052

Attn: 	Charlie Poggemann

Re:	Hadley Apartment Project – Change Order Request

Charlie,

As per PSE and City of Mercer Island requirements, a drain must be installed at the PSE transformer area that goes to an oil/water separator.  The oil/water separator must have the capacity to hold as much oil as the transformer itself.  See cost breakdown below.  Please forward a Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

- Oil Water Separator Supply		$2,910

- Oil Water Separator Install		$2,075

- Drain @ PSE Transformer Supply	$346

- Drain @ PSE Transformer Install		$171

- Piping	 				$426

- Overhead & Profit (10%)		$593

- Total					$6,521

Exclusions: Survey, utility locates, excavation, hoisting, backfill, cleaning of vault.

Sincerely,

Richard Donelson

Project Manager / Estimator

LEED® Green Associate

richd@owpllc.net

425-591-4296 cell