Change Order Request

March 31, 2016

Chinn Construction, LLC

14715 NE 95th Street, Suite 101

Redmond, WA 98052

Attn: 	Charlie Poggemann

Re:	Hadley Apartment Project – Change Order Request

Charlie,

Due to RFI-236, we will have to remove gas piping that was previously installed and reinstall per the new barbecue layout.  Total cost is $723 + 10% OH&P = 795.  Please let me know if you have any questions or comments.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

LEED® Green Associate

richd@owpllc.net

425-591-4296 cell