Change Order Request

March 8, 2016

Chinn Construction, LLC

14715 NE 95th Street, Suite 101

Redmond, WA 98052

Attn: 	Charlie Poggemann

Re:	Hadley Apartment Project – Change Order Request

Charlie,

Due to RFI-245, we are having to re-align our boiler flues in the east-west direction as they exit the exhaust tunnel, and cap the un-used penetrations that were aligned in the north-south direction.  Total costs for coordination, layout, core-drilling, grouting, and capping un-used penetrations is $1,470 + 10% OH&P = $1,617.  Please let me know if you have any questions or comments.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

LEED® Green Associate

richd@owpllc.net

425-591-4296 cell