## FRAMING PRODUCTION HOURS
LEVEL 3 AND UP - EAST | HOURS PER | UNITS PER | TOTAL HOURS | LEVEL 3 AND UP - WEST | HOURS PER | UNITS PER | TOTAL HOURS
| UNIT | FLOOR | PER FLOOR |  | UNIT | FLOOR | PER FLOOR
SUPERVISION | 6 | 26 | 156 | SUPERVISION | 6 | 25 | 150
LAYOUT AND MARK WASTE/STORM | 3 | 26 | 78 | LAYOUT AND MARK WASTE/STORM | 3 | 25 | 75
LAYOUT AND MARK WATER | 2 | 26 | 52 | LAYOUT AND MARK WATER | 2 | 25 | 50
DRILL OUT 1 BATH UNIT | 6 | 21 | 126 | DRILL OUT 1 BATH UNIT | 6 | 22 | 132
DRILL OUT 2 BATH UNIT | 10 | 5 | 50 | DRILL OUT 2 BATH UNIT | 10 | 3 | 30
WASTE/STORM 1 BATH UNIT | 9 | 21 | 189 | WASTE/STORM 1 BATH UNIT | 9 | 22 | 198
WASTE/STORM 2 BATH UNIT | 14 | 5 | 70 | WASTE/STORM 2 BATH UNIT | 14 | 3 | 42
WATER 1 BATH UNIT | 9 | 21 | 189 | WATER 1 BATH UNIT | 9 | 22 | 198
WATER 2 BATH UNIT | 13 | 5 | 65 | WATER 2 BATH UNIT | 13 | 3 | 39
WATER MAIN TO UNIT SHUT OFFS | 7 | 26 | 182 | WATER MAIN TO UNIT SHUT OFFS | 7 | 25 | 175
LABOR TO CLEAN, STOCK MATERIAL | 5 | 26 | 130 | LABOR TO CLEAN, STOCK MATERIAL | 5 | 25 | 125
TESTING AND INSPECTIONS | 4 | 26 | 104 | TESTING AND INSPECTIONS | 4 | 25 | 100
NAIL PLATE, QC, FIRESTOPPING, MISC. | 4 | 26 | 104 | NAIL PLATE, QC, MISC. | 4 | 25 | 100
SET VALVES & TUBS 1 BATH UNIT | 4 | 21 | 84 | SET VALVES & TUBS 1 BATH UNIT | 4 | 22 | 88
SET VALVES & TUBS 2 BATH UNIT | 6 | 5 | 30 | SET VALVES & TUBS 2 BATH UNIT | 6 | 3 | 18
TOTAL HOURS, 1 BATH | 59 | 1239 |  | TOTAL HOURS, 1 BATH | 59 | 1298
TOTAL HOURS, 2 BATH | 74 | 370 |  | TOTAL HOURS, 2 BATH | 74 | 222
GAS TO ROOF & APPLIANCES |  |  | 40 | GAS TO ROOF & APPLIANCES |  |  | 40
BOILER VENTING TO ROOF |  |  | 4 | BOILER VENTING TO ROOF |  |  | 4
HOSEBIBS |  |  | 60 | HOSEBIBS |  |  | 60
IRRIGATION |  |  | 24 | IRRIGATION |  |  | 24
DECK DRAINS |  |  | 60 | DECK DRAINS |  |  | 60
| TOTAL RI HOURS |  | 1683 |  | TOTAL RI HOURS |  | 1602
| TOTAL TUB HOURS |  | 114 |  | TOTAL TUB HOURS |  | 106
| TOTAL HOURS |  | 1797 |  | TOTAL HOURS |  | 1708
| Crew days, 25 man crew |  | 8.985 |  | Crew days, 25 man crew |  | 8.54
| Crew days, 22 man crew |  | 10.2102 |  | Crew days, 22 man crew |  | 9.7045
| Crew days, 20 man crew |  | 11.2312 |  | Crew days, 20 man crew |  | 10.675
| Crew days, 18 man crew |  | 12.4792 |  | Crew days, 18 man crew |  | 11.8611
| Crew days, 15 man crew |  | 14.975 |  | Crew days, 15 man crew |  | 14.2333
| Crew days, 12 man crew |  | 18.7188 |  | Crew days, 12 man crew |  | 17.7917
| Crew days, 10 man crew |  | 22.4625 |  | Crew days, 10 man crew |  | 21.35
| Crew days, 8 man crew |  | 28.0781 |  | Crew days, 8 man crew |  | 26.6875
| Crew days, 5 man crew |  | 44.925 |  | Crew days, 5 man crew |  | 42.7

## Sheet1
| NOVEMBER | [7 empty] | DECEMBER | [30 empty] | JANUARY | [30 empty] | FEBRUARY
| 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
SW QUADRANT
L3 WATER/WASTE | X
L4 WATER/WASTE | X
L5 WATER/WASTE | X | X | X |  |  |  |  | X | X
L6 WATER/WASTE |  |  | X |  |  |  |  | X | X | X | X | X
TEST WASTE | [11 empty] | X |  |  | X
WASTE INSPECTION | [15 empty] | X
WATER MAINS | X | X | X |  |  |  |  | X | X | X | X | X |  |  | X
WATER TEST | [14 empty] | X | X
WATER INSPECTION | [16 empty] | X
STOCK TUBS | [9 empty] | X | X | X
INSTALL TUBS | [21 empty] | X | X | X | X | X
TEST TUBS | [28 empty] | X | X
INSPECT TUBS | [30 empty] | X
NW QUADRANT
L3 WATER/WASTE | [14 empty] | X | X | X
L4 WATER/WASTE | [15 empty] | X | X | X | X |  |  | X
L5 WATER/WASTE | [21 empty] | X | X | X | X | X
L6 WATER/WASTE | [24 empty] | X | X |  |  | X | X | X
TEST WASTE | [30 empty] | X | X |  |  |  | X
WASTE INSPECTION | [36 empty] | X
WATER MAINS | [17 empty] | X | X |  |  | X | X | X | X | X |  |  | X | X | X | X
WATER TEST | [31 empty] | X |  |  |  | X
WATER INSPECTION | [36 empty] | X
STOCK TUBS | [14 empty] | X | X | X
INSTALL TUBS | [28 empty] | X | X | X | X |  |  |  | X
TEST TUBS | [36 empty] | X | X
INSPECT TUBS | [38 empty] | X
NE QUADRANT
L3 WATER/WASTE | [31 empty] | X |  |  |  | X | X | X | X
L4 WATER/WASTE | [38 empty] | X |  |  |  | X | X | X | X
L5 WATER/WASTE | [45 empty] | X | X |  |  | X | X | X
L6 WATER/WASTE | [51 empty] | X | X | X |  |  | X | X
TEST WASTE | [57 empty] | X | X | X
WASTE INSPECTION | [60 empty] | X
WATER MAINS | [37 empty] | X | X |  |  |  | X | X | X | X | X |  |  | X | X | X | X | X |  |  | X
WATER TEST | [57 empty] | X | X
WATER INSPECTION | [59 empty] | X
STOCK TUBS | [28 empty] | X | X | X | X
INSTALL TUBS | [63 empty] | X | X | X | X | X
TEST TUBS | [70 empty] | X | X | X
INSPECT TUBS | [73 empty] | X
SE QUADRANT
L3 WATER/WASTE | [56 empty] | X | X | X | X | X
L4 WATER/WASTE | [60 empty] | X |  |  | X | X | X | X
L5 WATER/WASTE | [66 empty] | X | X |  |  | X | X | X
L6 WATER/WASTE | [72 empty] | X | X | X |  |  | X | X
TEST WASTE | [79 empty] | X | X | X
WASTE INSPECTION | [84 empty] | X
WATER MAINS | [57 empty] | X | X | X | X |  |  | X | X | X | X | X |  |  | X | X | X | X
WATER INSPECTION | [79 empty] | X | X
STOCK TUBS | [42 empty] | X | X | X | X | X | [34 empty] | X
INSTALL TUBS | [84 empty] | X | X | X | X | X
TEST TUBS | [91 empty] | X | X
INSPECT TUBS | [93 empty] | X