## Sheet1
OWP LLC |  |  |  | LEGACY TRIM | PO#
VENDOR |  |  |  |  | BID#
SHIP TO
INVOICE NO. |  |  |  | OWP# | [5 empty] | DATE
|  |  |  | 2023 | [5 empty] | 2015-04-13
DATE REQUIRED |  |  | BUILDER JOB NO. | BUILDER JOB # |  | order | total | order | total | order | total
|  |  |  | LEGACY TRIM |  | CONS | 220760 | CONS | 231760 | CONS | 230518
SHIP |  | ordered | REC`D | PLEASE SUPPLY ITEMS LISTED BELOW
| 230 |  |  | white Toto CT416 elongated toilet bowl
| 230 |  |  | white Toto ST416M duall flush 1.6 & 0.9 GPF toilet tank and cover
| 230 |  |  | White SS114 elongated Softclose seat
| 11 |  |  | white Toto C744EL elongated toilet bowl, ADA
| 11 |  |  | white Toto ST743E & ER tank and cover, 1.28gpf
| 11 |  |  | White SS114 elongated Softclose seat
| 241 |  |  | white toto LT502 lavatory sink
[6 empty] | 1st quote |  | 2nd quote |  | 3rd quote
| 138 |  |  | white Superior 101C tub/shower stall w/backing |  | 360 | 49680 | 442.5 | 61065 | 438 | 60444
| 11 |  |  | white Superior 101C tub/shower stall w/grab bars & seat - ADA |  | 948 | 10428 | 948 | 10428 | 948 | 10428
| 28 |  |  | white Superior 48C-N shower stall (no backing) |  | 360 | 10080 | 377.25 | 10563 | 377.25 | 10563
| 64 |  |  | white Superior 48BF-FWA shower stall (with backing, adaptable) |  | 628 | 40192 | 528.5 | 33824 | 528.5 | 33824
|  |  |  | TOTAL |  |  | 110380 |  | 115880 |  | 115259
| 64 |  |  | Moen TL182EP rough in valve
| 198 |  |  | Moen G20192, 21”x16”x7.5” undercounter stainless steel sink
| 198 |  |  | Moen 7594 chrome kitchen faucet
| 11 |  |  | Moen G18195, 21”x16”x5.5” ADA undercounter stainless steel sink
| 11 |  |  | Moen 7594 chrome kitchen faucet
Common Areas
| 3 |  |  | white Toto C744EL elongated toilet bowl, ADA |  |  |  | 128
| 3 |  |  | white Toto ST743E & ER tank and cover, 1.28gpf |  |  |  | 62.65
| 3 |  |  | White SS114 elongated Softclose seat |  |  |  | 40
| 3 |  |  | white toto LT502 lavatory sink |  |  |  | 40.5
| 3 |  |  | Grohe 34.270.001 chrome faucet |  |  |  | 56.25
| 2 |  |  | Moen G18195, 21”x16”x5.5” ADA undercounter stainless steel sink |  |  |  | 105.816
| 2 |  |  | Moen 7594 chrome kitchen faucet |  |  |  | 147.038
Building Systems
| 11 |  |  | HB-1 Woodford 25 keyless hose bib |  |  |  | 40.962
| 10 |  |  | HB-2 Woodford 65B frostproof keyless hose bib with recessed box |  |  |  | 251.885
| 3 |  |  | Mustee 63M mop sink w/Mustee wall hung faucet |  |  |  | 109.815
| 4 |  |  | AO Smith BTH500, 130-gallon gas fired water heaters