Sept 1, 2015

Attention: Victor Vo

Exxel Pacific, Inc.

323 Telegraph Road

Bellingham, WA 98226

One-Way Plumbing, LLC. proposes the following fixtures and specs listed below in the 19 West Harrison  Apartments for the sum of $1,179,300.00 plus WSST.  Includes fixtures and faucets as noted below.

Description of Materials

# Resident unit trim

# 83	white Gerber 21-912, elongated bowl toilet with Bemis 1500 elongated seat

# 9	white Toto CST244, 17” high, ADA elongated toilet or equal w/Bemis 1500 elongated seat

#### 92	white Toto LT221 undercounter lav w/Grohe 34-270.001 chrome faucet

#### 67	white Aquatic 2603SMTE, fiberglass tub/shower stall w/Delta R10000MF/T14459 chrome

#### 25	white Fiberfab 48BFFWA fiberglass shower stall w/removable threshold w/Delta R10000MF/T14259 chrome

#### 6	Delta chrome hand held shower at type A units

#### 67	Lenova LS18304 undercounter stainless steel kitchen sink w/Grohe 32-665.001 chrome faucet

#### 8	Elkay ELUHAD2115-5 undercounter stainless steel sink w/ Grohe 32-665.001 chrome (at ADA units only)

# 75	roughin and connect for unit dishwasher (appliance to be FBO)

# 75	washer roughin w/ recessed box and valves (excludes hookup/placement of appliance)

###### Amenity/retail restrooms, lobby sink,  maintenance room

# 2	white Toto CST244,  ADA elongated toilet w/Bemis 1955 open front seat

# 2	white Toto LT221 undercounter china lav w/Grohe 34.270.001 chrome faucet

# 1	Lenova PC-SS-ORI-S15 undercounter stainless steel bar sink w/Grohe 32-665.001 chrome faucet

#### 1	Mustee 63 mop sink with Mustee wall hung chrome faucet

###### Building systems

1	waste, vent and domestic cold water stub at commercial/retail space

2	Woodford 24 keyless hosebib in parking garage/mechanical rooms

# 4	Woodford 65 frostproof keyless hose bib for exterior wall locations

# 1	Woodford 24 keyless hosebib with hot/cold water supply at trash room

# 1	Woodford hose bib for dog wash area at roof deck

2	AO Smith BTH500 gas-fired condensing water heaters or equal with PVC vent piping

1    	Armstrong expansion tank

1   	Armstrong E series hot water circulating pump

1     	Watts backflow valve at domestic water supply

1     	MSI duplex domestic water booster pump

1	4” schedule 40, DWV PVC foundation wall drain around interior of basement foundation walls

1	Zoeller duplex sump pump with basin for foundation drains

1	Zoeller duplex sump pump with basin for garage floor drains

1	PVC control assembly only shown on detail 2, page C0310. (excludes vault, manhole, ladder)

1	Quality Concrete 36”x36” concrete sand/oil basin for parking garage floor drainage

3	Quality Concrete CB40, 12”x12” concrete garage floor drain at slab on grade

1     	ProSet P65X drain with cast iron grate for trash room

2	ProSet P65X drain with cast iron grate for level 2 garage parking area

3     	NDS DS-090N trench drain w/DS231 cast iron grate at garage ramp areas

2	Watts cast iron area drains at level 1

2	Watts cast iron area drains at level 2

6	Watts cast iron roof drain with overflow at level 3 roof deck areas

10	Watts cast iron roof drain with overflow at roof area

1	Watts cast iron roof drain at the dog wash area

1	single common irrigation water supply to point of connection at street level, 3rd floor and roof decks.

1	single common gas supply to serve (2)water heaters, (1)lobby fireplace (1)BBQ, (1)fire-pit at roof deck.

Note:  Proset sleeves to be installed in post tension decks after all wall locations have been snapped or marked on deck forms by others and prior to placement of steel and cables.

INCLUDED IN BASIC PLUMBING BID

No foundation drainage plan available.  We have included foundation drain piping around perimeter of

exterior foundation wall only.   Piping to be 4” PVC plastic pipe (excludes drain rock, filter fabric, drainage

mat and miradrain fittings at the foundation wall).

All vent piping throughout building to be PVC plastic pipe.

Waste pipe in retail and amenity areas to be cast iron.

Waste pipe to be PVC plastic pipe in parking garage, bike parking, underground and mechanical spaces.

Waste stacks in unit walls and ceilings to be cast iron pipe (fixture trap arms and toilet flanges to be PVC).

Storm drain piping to be PVC plastic pipe in parking garage and under slab on grade.

Roof drain stacks to be cast iron within units, retail and amenity space.  Overflow drain pipe to be plastic pipe.

Water piping to be plumbed with PEX pipe up to 3” size and 2.5” and larger CPVC pipe to code.

Thermal insulation to code on hot water recirculation supply and return mains only.

Gas piping to be threaded black iron pipe and fittings (no welded pipe).

Waste, drainage and water mains to tie onto utility stubs left by utility contractor at foundation wall.

Unit water shut off valves to be located in unit closets, with valves exposed outside sheetrock or inside walls with access panels furnished and installed by others (meters/jumpers to be furnished by others).

Water hammer arresters installed per code.

ProSet sleeve system or equal to be used at post tension decks only.

Plumbing design to code with engineered drawings.

EXCLUDED FROM BASIC PLUMBING BID

Trench drains and drain line shown on page C0300, outside the building foundation, on west side of building.

Storm detention vault, ladders, or manhole.

Excavation, backfill, fill materials, pea gravel, sand or washed rock inside or outside of building.

Placement of sand/oil or pump basins in slab on grade.  Export of trench spoils. Drain rock or filter fabric.

Pumps systems for storm drain piping.  Storm sewer inverts are assumed to be low enough for detention

vault to drain by gravity.

Foundation or footing drains outside buildings.   Drain mat or adaptors at foundation walls.

Sub-slab drainage piping.

Exterior downspout piping.

Line or low voltage wiring or connections.

Emergency electrical shutoffs by others.

Fire sprinkler system.

Pipe protection or bollards for pipes coming down walls or columns in parking garage.

Stud shoe or strap reinforcement of wall studs in plumbing walls.

Housekeeping pad for water heaters.

Flashing at building siding for hosebibs, water heater vents.

Exterior canopy, deck or roof downspouts, scuppers, gutters or overflows.

Thermal or acoustic insulation on waste, vent, drain or water piping (except as noted above for circulation main).

Wash machine drain pans.  Kitchen sink garbage disposals.

City water meters.    Unit water meters, jumper or unions.     Access panels.     Sewer hookup.     Gas meters.

Landscape or planter irrigation system, piping, controls or valves.

Exterior side sewers, storm sewers or water service.

Waste disposal fees.

Hoisting or crane picks of stalls, water heating equipment or roughin materials during roughin (load and off load by OWP).

Shower doors, shower curtains/rods. Sink hole cutouts. Garbage disposal supply.

Retentions above 5%.   Performance or payment bonding.  WSST.

Prevailing wage rates.

Alternate pricing:

- Add for icemaker roughins with recessed box and shutoff valve.  Excludes appliance installation and final connection.

Add $11,700.00

- Add to supply gas to cooktops only in each unit.  Includes roughin for individual unit gas meters to be located in kitchen cabinet or closet area as near as possible to the cooktop location.  Meter unions and jumper (spacer tube) to be supplied by others. Excludes supply or install of gas meters.  Includes design and permit fee’s.

Add $70,400.00

Sincerely,

Michael Donelson

Exxel 19 West Harrison Apartments September 1, 2015