Change Order Request

March 29, 2016

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Victor Vo

Re:	Cora Apartments – Change Order Request #2 – RFI-001 Foundation Drainage

Victor,

RFI-001 now shows a separate 4” foundation drain tightline and separate 4” perforated footing drain.  Our bid included one 4” perforated line around the perimeter of the building that also picked up the foundation drainage.  This change will add approximately 440 feet of 4” PVC tightline pipe and fittings.

Total added cost is $4,088 + 15% OH&P = $4,700.  Please let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

LEED® Green Associate

richd@owpllc.net

425-591-4296 cell