Change Order Request

November 14, 2016

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Victor Vo

Re:	Cora Apartments – Change Order Request #3 – ASI-002 Activity Room Revisions

Victor,

Per ASI-002, an Elkay ELUHAD211550 stainless steel undermount sink with Delta 9959-CZ-DST bronze faucet, icemaker and dishwasher is being added to the Level 2 Activity Room.  Total cost for added waste/water/vent rough-in, core drilling and trim is $2,140.  Price excludes startup/testing of appliances, installation of undermount sink, drilling of countertop for sink and faucet holes.

Please issue an official Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell