Change Order Request

December 3, 2016

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Victor Vo

Re:	Cora Apartments – Change Order Request #4 RFI-055 Trench Drain at Garage Entrances

Victor,

Per RFI-055, we relocated the trench drains at the garage entrances.  Exxel Pacific provided the scanning and we core drilled and removed/reinstalled our piping.  Total cost is $964 + 15% OH&P = $1,109.  Please issue an official Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell