Change Order Request

December 3, 2016

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Victor Vo

Re:	Cora Apartments – Change Order Request #5 RFI-049 Added Drain at Planter

Victor,

An area drain was added in a planter at the north side of the building.  Total cost for scanning, core drilling, and additional drain and piping is $1,673 + 15% OH&P = $1,924.  Please issue an official Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell