Change Order Request

January 5, 2017

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Victor Vo

Re:	Cora Apartments – Change Order Request #6 RFI-063 Wall Hung Lavs in Common Baths

Victor,

Per RFI-063, we are to install wall hung lav sinks in the retail and fitness restrooms.  Total cost for upgraded sink and to install a Watts TCA-411 wall carrier for the sinks is $1,180 + 15% OH&P = $1,357.  Please issue an official Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell