Change Order Request

January 27, 2017

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Victor Vo

Re:	Cora Apartments – Change Order Request #7 Exterior Trench Drains on 1st Ave

Victor,

Total cost to install the 4ea trench drains along 1st Avenue West, as highlighted attached, is $$6,853 + 15% OH&P = $7,881.  We plan to use NDS DS-090N trench drains and DS-226 stainless steel grates per attached submittal.  All mainline storm piping is by others.  We will hook up to storm via tee left by others.  Trenching/excavation is excluded.  We will fine grade only.

Please issue an official Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell