Change Order Request

February 9, 2017

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Ben Prigmore

Re:	Cora Apartments – Change Order Request #8 RFI-065.1 Rooftop Sinks, BBQ

Ben,

Total cost for RFI-065.1 is broken down below.  Total cost is $5,620.  Please issue an official Change Order at your earliest convenience.  Let me know if you have any questions or require further information.  Thank you.

Install sink with shutoffs and drain-down: $1,950

- This option would involve installing shutoffs in the hallway ceiling below the sink.  We would need to route the water to the nearest autowash so the maintenance person can shut off the sink and then drain all the water out of it.  They would need to make sure they do this yearly so the sink doesn’t freeze.

- Excludes access panels (which will need to be fire rated).  Excludes faucet and sink.  Also excludes the countertop at the BBQ.

Add heat trace: $1,620

- In addition to the option described above, we could install heat trace on all of the piping below the countertop, all the way up to the bottom of the faucet.  Note, there is no way to heat trace the faucet itself.  There will be some heat that will travel up into the faucet from below that will help prevent it from freezing, but if there were a really cold day, the faucet is eventually going to freeze and break.

- Excludes electrical connections.

Add gas outlet boxes: $2,050

- Excludes placement and hookup of gas appliances.  I only included the gas connection at the outlet box, so the appliance installer will have to connect to our box.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell