Change Order Request

February 20, 2017

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Ben Prigmore

Re:	Cora Apartments – Change Order Request #9 Install Meter Jumper on Cold Side

Ben,

Total cost to RE-prefabricate all cold side shutoff valves to include a spacer and unions for future installation of a meter is $528 + 15% OH&P = $607.  Spacers and unions provided by others.  Meter supply and install by others.  Let me know if you have any questions or require further information.

PLEASE NOTE: The added spacers and unions increase the chance of a leak in the future.  We recommend these are not installed unless it is certain that a meter is going to be installed.  A meter can always be cut into the pex at a later date if they ever decide to install the meters.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell