Change Order Request

March 22, 2017

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Ben Prigmore

Re:	Cora Apartments – Change Order Request #11 Lav Sink Change

Ben,

Per email correspondence, the specified Toto LT221 lav sink has a 12 week lead time, which does not work with the project schedule.  Total credit to provide Lenova PU-01-W lav sinks in lieu of the Toto lav sink is <$1,971>.  Let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell