Change Order Request

April 21, 2017

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Ben Prigmore

Re:	Cora Apartments – Change Order Request #12r1 Common Area Sink & Icemaker Pump

Ben,

See costs breakdown below for the lobby kitchenette sink, amenity sink and to install the pump at the icemaker.  Please issue an official Change Order at your earliest convenience.  Thank you.

Install Kohler K-3894-4-NA in lieu of Elkay ELUHAD211550 at L2 amenity = $185

Install Kohler K-3894-4-NA in lieu of Lenova PC-SS-ORI-S15 at L1 lobby = $248

Install pump at icemaker = $782

Total cost = $1,215

Revised per RFI-112.1.

Exclusions: Electrical work, supply of pump, installation of undercounter sinks, countertop cutouts, testing/startup of appliance.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell