Change Order Request

June 8, 2017

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Ben Prigmore

Re:	Cora Apartments – Change Order Request #13 Trench Drain Reinstall

Ben,

Total cost to reinstall a trench drain at the alley garage entrance per RFI-146 is $1,827 + 15% OH&P = $2,101.  Please issue an official Change Order at your earliest convenience.  Let me know if you have any questions.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell