November 25, 2020

Blanton Turner

159 South Jackson Street, Suite 320

Seattle, WA  98104

Attn: 	Jeff Casebolt

Re:	Cora Apartments - Replace Expansion Tank

Jeff,

Per your request, total cost for the work described below at the Cora Apartments is $4,180, plus 10.1% WSST, for a total of $4,602.46.  This proposal may be withdrawn or modified if not accepted within 30 days.

Description of work:

- Remove leaking expansion tank from hot water heating room and replace with new tank.  Specification of new tank will be the same as the old expansion tank – Armstrong AST-60V.  Manufacturers standard warranty to apply.

- Replace Schrader valve stem at booster pump expansion tank.  Note: we cannot guarantee that this will fix the Schrader valve.  There may be some other unknown problem with this valve.

Exclusions:

- Any work that is not described above.

- Replacement of booster pump expansion tank.

- Boiler and/or plumbing permits.

- One Way Plumbing warranty.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net