April 27, 2016

Exxel Pacific

4220 Aurora Avenue N.

Seattle, WA 98103

Attn: 	Jola Bielecki

Re:	The Cora – OWP Submittal Narrative

Jola,

The materials being submitted in our underground and garage submittal conform to local building and plumbing codes, building standards, and engineering standards.  We’ve used the same or similar products on 20+ similar mixed-use multi-family projects that we’ve completed in the past 5 years, with no issues arising.

We have used Franklin Engineering’s services exclusively for plumbing engineering for our design-build projects for over 10 years.

All storm drains are sized per plumbing code to meet City of Seattle rainfall rates.

The sump pump manufacturer recommends that sump pump basins are sized to allow the pumps to run a minimum of ~3 minutes each time they are turned on.  We have sized the foundation and garage floor drain sump pump basins accordingly.

Please let me know if you have any questions or require further information.  Thank you.

Sincerely,

Richard Donelson

Project Manager / Estimator

richd@owpllc.net

425-591-4296 cell